PESTICIDE HANDLING AND DISCHARGE RESPONSE PLAN

Custer County Weed & Pest - 2010

Commercial applicators are required to conduct pesticide operational area activities through utilization of a written pesticide handling and discharge plan as of February 1, 1995. This plan will help facilities establish and utilize procedures that aid in preventing discharges during daily handling and use of pesticides, as well as strategies that will expedite actions necessary to minimize adverse effects on themselves, others, and the environment in the event of a discharge incident or mechanical failure. In case of an emergency incident, a written plan will provide guidance to facility employees and emergency assistance individuals.

Under the authority of SDCL 38-21-15, ARSD 12:56:17:03 requires a copy of the plan to be kept at either the operational area, the applicator's nearest local office, or the location from which the operational area is administered; and, must be made available for employee use and for inspection by the South Dakota Department of Agriculture. It is recommended that the operator provide a current copy of the plan to local fire departments, police departments, emergency medical services, and county emergency management directors.

All employees of the facility should be trained to identify an emergency response incident (i.e., major or minor spills, potential for fire, etc.), who to call for remediation assistance, and/or evacuation routes. If employees are to participate in the remediation (i.e., firefighting, etc.), those employees must be trained to perform the necessary tasks. Employees must also know which personal protective equipment to use as well as when and how to use it.

This document is intended to provide guidelines for development of your plan. We encourage you to add details to the plan to satisfy conditions at your facility. It may be beneficial to put your plan in a binder so that pages can be added as changes occur. Although the South Dakota Department of Agriculture may occasionally review your plan to ensure it meets the provisions of ARSD 12:56:17:03, the department makes no claims, implied or otherwise, as to the suitability of the personal protective equipment, release remediation equipment, release remediation procedures, fire fighting procedures, or first aid procedures outlined herein for preventing or eliminating human exposure or damage to the environment.

The department is prepared to respond to all agricultural incidents in a timely fashion, and to apply appropriate and effective procedures to contain and control agricultural chemicals involved in emergency incidents. The Department of Agriculture works cooperatively with the Department of Environment and Natural Resources, Department of Health and other local, state and federal agencies in coordinating assistance and technical support.

At this time, is not required for applicators who conduct fertilizer operational area activities to have a written fertilizer handling and discharge response plan. However, spaces have been provided within this plan for your own use in developing plans which will be utilized to minimize and mitigate the adverse effects of fertilizer discharges on the environment.

LOCATION OF PLAN COPIES

LOCATION: LOCATION: Custer County Weed & Pest Office - Gordon Kirsch - 25361 US Hwy.385 Custer SD 57730

CONTACT: PHONE: 605-673-5680

LOCATION: LOCATION: Custer County Hwy, Department/storage shed - John Culbertson - 25365 US Hwy. 385 Custer SD 57730

CONTACT: PHONE: 605-673-5678

LOCATION: LOCATION: Custer County Sheriffs office -Rick Wheeler - 31 S. 5th St. Custer SD 57730

CONTACT: PHONE: 605-673-8176

LOCATION: LOCATION: Custer Fire Department - Joel Billings - 616 Crook St. Custer SD 57730

CONTACT: PHONE: 605-673-1218

LOCATION: LOCATION: Emergency Management Dir. Mike Carter - 420 Mt. Rushmore RD Custer SD 57730

CONTACT: PHONE: 605-673-8176

LOCATION: Custer Ambulance Service - Director – Jason Debcich - 30 S. 3rd St. Custer SD 57730

CONTACT: PHONE: 605-673-3334

*Plan must be kept current, last update:   04/28/10

I. EMERGENCY RESPONSE LIST

FACILITY PERSONNEL EMERGENCY RESPONSE LIST

(Title should list responsibility of individual in the event of an incident.)

If facility is required to submit Section 302 Report under SARA Title III, the Facility

Emergency

Coordinator designated therein should be listed first.

NAME - Mike Carter

TITLE - Emergency Management Director Custer County

PHONE - 605-673-8176

ADDRESS - 420 Mt. Rushmore Rd Custer SD 57730

NAME - Gordon W. Kirsch (Bill)

TITLE - Custer County Weed & Pest Supervisor

PHONE - 605-673-4278/605-673-5680

ADDRESS - 25361 US Hwy 385 Custer SD

NAME - Joel Billings

TITLE - Fire Chief

PHONE - 605-673-1218

ADDRESS - 616 Crook St. Custer SD 57730

NAME - John Culbertson

TITLE - Custer County Hwy. Department Supervisor

PHONE - 605-673-1051/5678

ADDRESS - 25365 US Hwy 385 Custer SD 57730

NAME – Steve Wiese

TITLE - Custer County Weed & Pest Field Supervisor

PHONE - 605-673-5680

ADDRESS - 25361 US Hwy 385 Custer SD 57730

NAME - Rick Wheeler

TITLE - Custer County Sheriff

PHONE - 605-673-8176

ADDRESS - 31 S. 5th St. Custer SD 57730

NAME – Jim Sanders

TITLE - Custer Ambulance Service

PHONE - 605-673-3334

ADDRESS - 30 S. 3rd St. Custer SD 57730

NAME - Durk Jamison

TITLE - SD Highway Patrol

PHONE - 605-673-5677

ADDRESS - Box 431 Hwy 385 Custer SD 57730

NAME - SD Department of Agriculture - Pierre SD

TITLE

PHONE - 1-605-773-3724/1-800-228-5254

ADDRESS

NAME - Report spill/release - Dept of Ag/EPA/Title III

TITLE

PHONE - 1-605-773-3231/605-773-3296 - EPA 1-800-424-8802 - Title III - 1-800-433-2288

ADDRESS

I. EMERGENCY RESPONSE LIST (continued)

EMERGENCY ASSISTANCE

NAME CONTACT TELEPHONE NUMBER

Fire Department 911 or 605-673-1218/8176

Police 911 or 605-673-8176

Sheriff's Department 911 or 605-673-8176

Ambulance 911 or 605-673-8176/3334

State Patrol - 605-673-8176/5677

Doctors - 605-673-2229

Hospitals - 605-673-2229

Emergency Contractor - 605-673-1051

(Excavation, Crane, Etc.)

REPORT AGRICULTURAL CHEMICAL INCIDENTS TO:

Emergency Management Services 605-773-3231 (24 Hours)

South Dakota Department of Agriculture 605-773-4432 (Business Hours)

Department of Environment and Natural Resources 605-773-3153 (Business Hours)

National Response Center – Federal 1-800-424-8802

CHEMTREC 1-800-424-9300

Poison Control Center 1-800-POISON1 (SD)

1-800-843-0505 (IA, MN, NE)

Utilities

Buried Utilities Telephone Company - Black Hills Power & Light - 1-800-781-7474/650-673-4455

Cable TV Company N/A

Gas Company N/A

City Water System - 605-673-4824

Rural Water System - 605-673-4824

NOTE:

National Response Center number must be called if a spill above the reportable quantity occurs.CHEMTREC and Poison Control Center numbers are provided for informational purposes only. Contact the Local Emergency Response Planning Committee (LEPC) to ensure your plan is Compatible with their Local emergency Response Plan and in compliance with the Superfund Amendments & Reauthorization Act of 1986 (SARA) and Comprehensive Emergency Response, Compensation & Liability act of 1980 (CERCLA) regulations. There may be other federal, state, and local agencies that need to be contacted. Become Familiar with all contacts in your area and record their numbers in the space below.

II. PRODUCT LABELS

INSERT LABELS FOR ALL PESTICIDE AND FERTILIZER PRODUCTS HANDLED OR

STORED AT THE FACILITY.

* (Please refer to attached documents)

III. PRODUCT MATERIAL SAFETY DATA SHEETS (MSDS)

INSERT PESTICIDE AND FERTILIZER PRODUCT MATERIAL SAFETY DATA SHEETS.

(OPTIONAL)

*(Please refer to attached documents)

IV. FIRST AID INFORMATION

Refer to product label and MSDS on pages (Please refer to attached labels/MSDS) for first aid instructions. If in doubt

About nature of material, get medical attention immediately.

NOTE: IF MEDICAL ATTENTION IS SOUGHT, TAKE LABEL(S) AND MSDS(S).

SYMPTOMS OF PESTICIDE POISONING MAY INCLUDE:

1) Headaches

2) Dizziness

3) Weakness

4) Coordination problems

5) Muscle Twitching

6) Tremors

7) Nausea

8) Abdominal Cramps

9) Diarrhea

10) Profuse Sweating

11) Blurred Vision

MEDICAL TELEPHONE NUMBERS ARE LOCATED *(under emergency numbers)

LOCATION OF:

First Aid Kits –

Each spray unit has a basic first aid kit. Other kits are located at the County Hwy Shop and Weed & Pest Office/Storage shed/Maintenance shop.

Eye Washer-

Eye wash solution bottles/wipes/ 5 gallons water locate in each spray unit/Co.Hwy Shop/Maintenance shop/bathrooms

Oxygen - N/A

Other-

5 gallons of fresh water in each spray unit/wash facilities at Weed & Pest Office and County Hwy. Shop. Safety books are in each spray unit.  Eye protection is available to all staff. All Personal protective equipment is provided to staff with weekly safety meetings.

V. FIRE FIGHTING PROCEDURES

Information regarding fire fighting procedures is not required to be provided to the South Dakota Department of Agriculture, and is included for informational purposes only.

A. PREFIRE PLANNING

1. The facility should be familiar with what the local fire department is willing and able to do in response to an incident at the facility.

2. Local fire department should visit the facility at least annually. They should be thoroughly familiar with the following:

a. Locations of hydrants and other water sources;

b. Location of normal and alternate access road, gates, fences, etc.

c. Surrounding building occupancies and land use;

d. Precautions and tactics for fighting garden/agricultural chemical fires;

e. Day and night telephone numbers of the facility operators, physician familiar with products, and manufacturers of products;

f. Means of controlling drainage at and adjacent to the facility;

g. Symptoms of pesticide and fertilizer poisoning;

h. What to do in case of contact with toxic chemicals;

I. Use of self-contained breathing apparatus (Air Paks);

j. Means of ventilating warehouses.

B. GENERAL RULES TO FOLLOW IN CASE OF FIRE:

1. Call the fire department at 911/605-673-8176/1218 and clear all personnel from the building/area to a safe distance upwind from smoke and fumes. Isolate the area if necessary.

a. Have plan of burning facility and its contents ready for fire team when they arrive. This

Plan is in this response plan. (Section VI)

b. Pay special attention to the location of particularly hazardous chemicals and containers.

c. Clarify a water use strategy. How much, if any, water will be used? Where will it be used?

How much, if any, diking will be necessary to contain this water? What material will be?

Used to form a dike?

d. PROVIDE LABELS AND MATERIAL SAFETY DATA SHEETS (MSDS). Labels and MSDS

Are located on pages *(refer to attached labels/MSDS (Section II)

C. POST FIRE CLEANUP

1. Isolate and secure scene to keep people away; waste and run-off may be toxic.

2. Contact South Dakota Department of Agriculture for review and approval of contaminated

Material disposal plan.

3. Handle waste and run-off the same as for a product spill. Directions for handling spills are located in (Section IX)

V. FIRE FIGHTING PROCEDURES (continued)

IMPORTANT NOTES:

If the employer's own employees will be involved in firefighting activities, training according to 29 CFR 1910.156 must be provided. If employees are to evacuate and call the fire department or other responders, employee training should cover evacuation and fire department notification procedures. Under post-fire cleanup, people involved in such cleanup should be apprised of the proper personal protective equipment to be worn during the cleanup process (i.e., in some instances, respirators may be necessary). Should this facility become involved in a fire, the commanding fire office at the scene should be in a position to let the facility burn if he determines that continued water application:

a) Will result in extensive contaminated water run-off; or

b) Could result in incomplete combustion into the air.

It would be desirable if he had advance written authority from the Facility Manager to do so if

Necessary or appropriate. This eventually should be discussed with insurers of the

Establishment.

I hereby authorize the Fire Department to make necessary decisions in handling any fire

At the facilities covered by this document.

Signed_________________________________________ Date___________________________

Authorized Facility Representative

Signed_________________________________________ Date___________________________

Authorized Facility Representative

Signed_________________________________________ Date___________________________

Authorized Facility Representative

Signed_________________________________________ Date___________________________

Authorized Fire Department Representative

VI. MAPS

A. MAP OF FACILITY

1. Accurately diagram the: ** (Please refer to attached map)

A. current facility property (if previously established);

B. the proposed facility property (if new).

2. Indicate the following areas on the map:

a. All buildings (indicate distance between buildings);

b. All pesticide/fertilizer/anhydrous ammonia bulk tank storage areas, and all non-bulk (packaged goods) pesticide/fertilizer storage area;

c. All pesticide/fertilizer mixing, loading, and rinsate recycling areas;

d. All pesticide/fertilizer vehicle parking and washing areas;

e. All sanitary sewer inlets, storm sewer inlets and outlets, tile inlets and outlets;

f. All wells. For wells within 150 feet of any existing or proposed pesticide/fertilizer loading (rinse pad) and secondary containment (diked) areas, include the year installed and the depth;

g. All water supplies (fire hydrants, water supply tanks, water sources, etc.);

h. Indicate areas and directions of runoff from the facility;

I. OSHA requires an employer to designate safe places of refuge in case evacuation of employees becomes necessary.

B. MAP OF SURROUNDING AREA

1. Attach a detailed copy of a county plat book/map, a detailed city/village map, or a combination of maps, photographs, and diagrams which accurately describe the location of the facility, and include only the following:**

a. County b. City/Village c. Township

d. Range e. Section f. 1/4 Section

g. Fraction/Lot

h. Distance and direction to cropland (be specific), residences (single family or multi-family dwelling),

Schools, hospitals, and businesses (type) within one-quarter mile of facility. Use standard compass

Directions and give exact distance measurements.

i. Distance and direction to surface water (creeks, streams, rivers, lakes, ponds, wetlands, etc.),

Drainage ditches (county and others), and down gradient storm sewers within one-quarter mile of the

Facility;

j. Distance and direction to any municipal water supply well within one-quarter mile of the facility. Use

Standard compass directions and give exact distance measurements.

**

Copies of the facility map and surrounding area map prepared for the facilities' permit application may be inserted here - cut and paste as needed.

Use the appropriate symbols shown below on your facility and surrounding area maps.

VII. PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

A. FILLING APPLICATION EQUIPMENT

1. Describe fill methods, specify equipment and procedures used to prevent spills and incidents, for all transfer, loading, unloading, mixing, repackaging, and refilling operations for containers and application equipment at all loading areas (be specific).

Pesticides: There is a separate climate controlled storage area for chemicals. Chemicals are stored in original containers, 2.5 gallon/30 gallon/ 50 gallons. Containers are marked and separated per chemical. Absorbent material is available for small spills. Poison oats are stored in a separate shed with tile floor. Custer County Weed & Pest is currently developing plans for a new storage facility and wash plant. Chemicals are filled out of 30/50 gallon drums in well marked 2.5 gallon containers at the storage facility. Mixing is done in the field at job site. Water is obtained at the Custer Water Facility; no mixing is done on site. Water hoses are elevated to prevent back wash during filling. Each unit has absorbent material and safety/MSDS packets. Safety poster is posted at the site.

Fertilizer: N/A

a. Describe area(s) used for loading application equipment - (i.e., concrete, metal gravel,

Scale, pit, etc.):

Wooden floors in storage area/elevated over gravel field with containment ditch.

PRODUCT TYPE, TYPE OF LOADING AREA

Small packaged pesticide - (<56 gal.)  -  50/30/2.5/quart - gallon containers - original

Minibulk pesticides - (56-499 gal.)        N/A

Bulk pesticide - (>500 gal.)               N/A

Dry bulk pesticides                        N/A

Bulk liquid fertilizer                     N/A

Dry bulk fertilizer                        N/A

Pesticide impregnated fertilizer           N/A

Other:

VII. PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

(Continued)

2. Indicate type of backflow prevention devices are installed/used on water supplies when:

a. Filling application equipment - be specific

Pesticide: Hose are elevated of tank when filling to prevent backflow - hand held. Custer Weed & Pest minimizes use of public water supplies, when needed has it own hoses available.

Fertilizer: N/A

b. Rinsing pesticide containers - be specific

Pesticide: All reinsate is recycled into unit tanks for use at job sites. All containers are triple rinse into spray tanks for use at job sites; containers are rinsed and punched prior to disposal. State Agriculture Department picks up disposals at scheduled times during the spray season.

Fertilizer: N/A

c. Cleaning application equipment (tanks) - be specific

Pesticide: All equipment is washed on a concrete wash pad at scheduled times meeting State Ag.guidlines.

Fertilizer: N/A

3. Describe overfill prevention procedures and structures.

Pesticides: Water loading is conducted on an asphalt containment pad utilizing sludge water from a water treatment plant. The site is setup for Department use only. Chemicals are mixed at treatment site. Overfill is monitored by staff. Each spray unit has absorbent material and tools to contain overflow. Spray units have safety manuals instructing protocol for spills.

Fertilizer: N/A

VII. PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

(Continued)

4. Describe procedures for, frequency of, and individual responsible for inspections of equipment and appurtenances, including secondary containment and mixing/loading pad structures.

Pesticide: Equipment is inspected daily, once a week there is a staff meeting and all units are thoroughly inspected for problems. Maintenance sheets are filled out and all equipment monitored, load pad is elevated

Fertilizer:

5. Describe strategy used to repair equipment found to be defective.

Pesticides:  Repairs are made immediately upon discovery.  Checks are made a least once weekly/daily. Spray units have basic tool kits as well as shop tools at the County Hwy. Shop/Weed & Pest office. Major repairs are completed by a Hwy. Dept staff and commercial provider. Maintenance sheets are tracked by Supervisors and meetings held weekly.

Fertilizer:  N/A

VII.

PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

(Continued)

B. HANDLING AND USING RINSATES

1. Address the generation, handling, and use of rinsates, rainwater, wash water, sludge, etc.

From:

Load/unload pads;

Pesticides:  Spray equipment is housed in covered stalls. Riensates are recycled into spray tanks for use in the field, (same chemicals not exceeding Ag. Guidelines).  Units are washed at scheduled times meeting Ag. Dept protocol, on concrete pad, dirt boundary.

Fertilizer:  N/A

b. Secondary containment structures;

Pesticides:  gravel/dirt furrow around storage yard. Excavation equipment is on site. Storage sheds are heated with wood/tile floors. Absorbent material is available.

Fertilizer:  N/A

c. Transportation and application equipment for all products;

Pesticides:  Spray units carry only chemicals need for daily job assignments. Mixing is done on site – job. All spray units have absorbent materials and protocol information. Units are parked in covered stalls and washed at scheduled times.

Fertilizer:  N/A

VII. PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

(Continued)

d. Rinsing/cleaning containers, including small packages, minibulks, and bulk containers;

Pesticides:  Used containers are triple rinsed and punched. Unmarked containers are disposed of through the SD State Agriculture Collection Program. Rinsate is recycled into spray units to be used appropriately according to guidelines. Rinsed containers are disposed of by Ag. Collection Program.

Fertilizer:  N/A

e. Application equipment parking and product storage areas; and,

Pesticides:  Spray equipment is stored in covered stalls. Chemicals are stored in enclosed building with temperature control. Absorbent material is available.

Fertilizer:  N/A_

f. Scale pits.

Pesticides:

Fertilizer:

VII. PROCEDURES FOR USE/HANDLING OF PESTICIDE/FERTILIZER AT FACILITY

(Continued)

2. Describe procedures used to reduce the amount of rinsate generated.

Pesticides:  Mixing is regulated to assure that only enough chemical/water is utilized at each job site.  Crews attempt to use up mix daily.  Spray units are designated for specific treatment to minimize changing chemical mix.

Fertilizer:  N/A

C. USE OF RINSATE AND SLUDGE

Whenever possible, rinsate and sludge should be used as originally intended. When reuse is not possible either because of excessive contamination or cross-contamination with an incompatible material, the material must be disposed of in accordance with South Dakota Department of Agriculture requirements. Depending upon the chemical involved, disposal options may include a local landfill permitted to accept the material or a hazardous waste landfill. Do not begin disposal until the South Dakota Department of

Agriculture has granted approval.

1. Recovered pesticide or fertilizer rinsates:

a. Rinsate resulting from daily operations should be (of the following, prioritized appropriate options and delete choices inappropriate for your operation):

Used as make-up water in the present or future outgoing pesticide/fertilizer loads of the same pesticide/fertilizer, or same use-site compatible pesticides/fertilizers. Approximate concentration of rinsate should be accounted for when intended application is near maximum label rate. Rinsate should never exceed 5% of the total load. All customers receiving rinsate as makeup water should be informed in advance and provide approval. If a customer does not approve.

Applied as-is to a labeled site at a labeled rate as directed by:

Gordon W. Kirsch – Custer County Weed & Pest Supervisor

1. The approximate analysis of material must always be known before use.

2. These sites must be used in the current and following season for a crop:

a) Specified by the pesticide label(s) [the rinsate applied cannot exceed label rates];

b) Only when the fertilizer can be uniformly applied at a rate not exceeding normal

Nutrient needs for the present or intended crop.

3. Location where rinsate application records are kept:

Custer County Weed & Pest Office

25361 US Hwy. 385

Custer SD 57730

Disposed of according to label directions and as directed by South Dakota Department of

Agriculture.

Other acceptable procedures outlined below:

VIII. EMERGENCY EQUIPMENT & SUPPLIES

- PERSONAL PROTECTION EQUIPMENT & LOCATIONS

This list is the minimum types of personal protective equipment recommended by the South Dakota Department of Agriculture. Check all pesticide and fertilizer labels to ensure adequate personal protective equipment is available for use at your facility.

EQUIPMENT ON SITE OTHER LOCATION

*Safety equipment is provided and stored at Weed & Pest shower facility/storage shed.

Pesticide & Fertilizer

Rated Respirators

Rubber or Neoprene Boots

Disposable Boots

Rubber Gloves

Chemical Suits

Rubber Raincoats

Face Shield/Similar Protection

Safety Goggles

Hard Hats

Soap

Other:  - * Shower facility available

Other:

B. LOCATION OF EMERGENCY REPAIR EQUIPMENT & SUPPLIES

(Available 24 hours/day; include location, description and phone numbers)

Beveled wooden stakes & mallet:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Rubber strips, plastic tape & duct tape:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Assorted bolts, machine screws & hand tools:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Rain gutter or plywood for overflow control:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Caulking material:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Other: *

Custer County Hwy. Shop/Storage Facility/Custer County Weed & Pest Office – 25361/525365 US Hwy. 385 – 605-673-1051

Additional release remediation equipment may be needed as the situation demands.

VIII. EMERGENCY EQUIPMENT & SUPPLIES (continued)

- LIQUID RECOVERY EQUIPMENT

Liquid recovery equipment:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Liquid transfer pumps:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Gasoline for pumps:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Hoses & fittings for pumps:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Emergency electrical generating equipment:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

D. OTHER EMERGENCY EQUIPMENT

Leak proof drums with lid for collection of absorbed material from cleanup of minor spills (Available from drum recyclers/vehicle painters):

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Tanks (of adequate capacity for holding recovered material):

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Portable storage tanks (i.e., tanker truck, nurse tank, etc.):

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Traffic control equipment (to prevent vehicles and persons from entering incident site):

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Emergency Management – 605-440-0709

Custer County Sheriff’s Office 911/605-673-8146

E. EXCAVATION EQUIPMENT

Front end loaders:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Bulldozers:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Dump trucks:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Backhoe:

Custer County Hwy. Shop – 25365 US Hwy. 385 – 605-673-1051

Other: * SD Department of Transportation

* Additional release remediation equipment may be needed as the situation demands

VIII. EMERGENCY EQUIPMENT & SUPPLIES (continued)

F. PESTICIDE DECONTAMINANTS

Depending on the pesticide involved, chlorine bleach, caustic soda (lye, sodium hydroxide), or Lime can sometimes be used to effectively decontaminate spills.

Some pesticides cannot be effectively decontaminated and should only be treated with

Detergent and water to assist in removal.

Pesticide Decontaminants

Lye or Lime Chlorine Bleach Do Not Use Chemicals

Abate Calcium cyanide Alachlor

Atrazine Calcium cyanamide Amiben

Baygon Dyfonate Chlordane (chlorinated hydrocarbons)

Bromex Folex Diuron

Captan Lethane Maneb

Cyanazine Methoxychlor

Cygon Pentachlorophenol

Dalapon Tordon

Dichlorvos or Vapona Toxaphene

Dursban Trifluralin

EPN 2,4-D

Malathion

Orthene

Rotenone

Sevin

Silvex

Sodium flouride

TCA

2,4,5-T

Guide to Applying Decontaminants

% Active Ingredient Amount of Decontaminant Required

1 - 10 Use decontaminate in amount equal to the quantity of spilled

pesticide

11 - 79 Use decontaminate in amount equal to 1.5 times the quantity of

spilled pesticide

80 - 100 Use decontaminant in amount equal to 2 times the quantity of

Spilled pesticide

VIII. EMERGENCY EQUIPMENT & SUPPLIES (continued)

1. Decontamination solutions can be used on surfaces and materials contaminated by dust, Granular, wettable powder or liquid pesticides.

.

2. Application of decontaminants

a. Liquid - mix and apply to spill area with watering can

b. Dry - spread thinly and evenly over the spill area then lightly sprinkle the area using a

watering can to activate the decontaminant

3. Allow the appropriate decontamination solution to react for 1 to 6 hours before removal with absorbent material.

Nonporous Surface:

Thoroughly work the appropriate amount of decontamination solution into the surface using a long handles broom, scrub brush, or other equipment. Use absorbent material to soak up the solution. Collect the contaminated absorbent material and store it in a labeled leak-proof container until it can be properly disposed of.

Porous Surface:

It may not be possible to adequately decontaminate these materials such as wood. If clean-up is not adequate properly dispose of the material.

Soil:

Remove all soil to depth of at least 3 inches below the set surface line. Store and cover soil with plastic until it can be properly disposed of.

Tool, Vehicles, Equipment, Metal and Other Nonporous Objects:

These can generally be decontaminated using detergent and appropriate decontamination solution. Smaller quantities of the solution may be required depending upon the situation.

Thoroughly work the soil: Remove all soil to depth of at least 3 Inches below the wet surface line. Store and cover soil with plastic until it can be properly disposed of.

Solution into the surface using a long- Handled broom, scrub brush, or other

4. When employing decontamination procedures, there is potential of creating toxic by-products. In critical situations, samples of affected components (soil, sediment, water, etc) should be Taken and sent to a laboratory for analysis to determine if the decontamination effort was Successful.

VIII. EMERGENCY EQUIPMENT & SUPPLIES (continued)

5. Lye or Lime

a. Can be used in dry form or liquid solution to decontaminate pesticides acceptable to this treatment for liquid solution, combine .75 pounds of lye or lime in 3.5 quarts of water to make 1 Gallon of 10% solution

b. Lye (caustic soda) can cause severe eye damage to persons not properly protected. wear unventilated goggles, long-sleeved work clothes with coveralls, neoprene gloves, and a respirator to protect you from contact.

c. Do not use lye on aluminum surfaces.

6. Bleach treatment

a. Liquid or powder form of bleach (sodium hypochlorite) can be used in general, 1 gallon of liquid household bleach (5% solution) should be used per pound or

gallon of spilled pesticide. For bleaching powder, mix 1 gallon of water per pound or gallon of bleach and add a small amount of liquid detergent.

b. Run a preliminary test, using a small amount of bleach, to make sure the reaction is not too vigorous as a fire could result.

c. Do not store chlorine bleach in close proximity to, or mix it with, amine-containing

Pesticides.

IX. SPILL OF PESTICIDES AND FERTILIZERS – PROCEDURES

SAFETY FIRST:

CONTROL

CONTAIN

CLEANUP

REPORT AGRICULTURAL CHEMICAL INCIDENTS

TO APPROPRIATE FEDERAL, STATE, AND LOCAL AGENCIES

Telephone numbers are found in (Section I)

Components listed are South Dakota Department of Agriculture recommended procedures only. Additional procedures may be required to control, contain, and clean up releases.

A. MINOR SPILLS

1. A minor spill is a spill small enough to be controlled, contained and cleaned up using readily available equipment and materials. The most likely sources of minor spills are:

Pesticide:

Small containers include 2.5 gallon containers, 30/50 gallon drums. Construct dirt ditch around spill, use absorbent material, collect contaminate, properly dispose._

Fertilizer:  N/A

2. Our most commonly recommended procedure for containing minor spills would be to first:

Contain the spill using:

Appropriate absorbent material.

Tools to build containment ditch.

Wear Personal Protective Equipment

Dispose of appropriately

Pesticide:

Fertilizer:  N/A

IX. SPILL OF PESTICIDES AND FERTILIZERS - PROCEDURES (continued)

3. Determine whether it is appropriate to stop the source of the spill or to limit the flow.

Protect yourself before proceeding. Wear appropriate personal protective equipment.

Do not allow anyone to walk in spilled material. Prevent vehicles from driving over spilled material. For traffic control materials, see (Section VIII)

a. CONTROL SPILL: Location of beveled stakes, a mallet, rubber strips, plastic tape and duct tape is listed on. (Section VIII)

b. CONTAIN: If the material starts to spread, contain by diking with sand, soil or absorbent clay. Do not allow material to enter storm sewers, waterways, etc., or pool at well heads. Our nearest source of sand is Custer County Hwy Department, listed.  Sand is provided as needed. In (Section VIII)

Our nearest source of soil is at Custer County Hwy. Department. (Section VIII)

Tools for moving these materials are listed in (Section VIII)

Location of our front end loader is listed in (Section VIII)

For larger spills which go beyond the capacity of our own equipment and personnel, move to the following section on MAJOR SPILLS.

B. MAJOR SPILLS

A major spill is one which involves a significant quantity of material from both product value and substantial environmental standpoints. A major spill demands your immediate attention and immediate notification of both company personnel and appropriate authorities.

What might be a minor spill at your own facility quickly becomes a major spill if it occurs on Main Street, during rush hour, 15 feet from a storm sewer that empties directly into a river, stream or lake.

1. FOR ANY MAJOR SPILL, BEFORE RESPONDING:

QUESTION RESPONSE

a. Am I equipped to respond safely? a. Notify others of the situation - phone numbers. (Section I) Do not allow anyone to walk or drive in the spilled material. See (section I) for traffic control supplies). (Section VIII)

Get needed protective gear. See listing. (Section VIII)

b. Does the spilled material have any special b. be certain you and all responding are aware and properties to consider (i.e., flammable, acid, consider these properties. See Section III high toxicity, reactions with other stored product information locations. (Section II and

Products)? Section III)

c. Are any electrical components wet or c. shut down all power until it is determined what? submerged? Can be safely used.

IX. SPILL OF PESTICIDES AND FERTILIZERS - PROCEDURES (continued)

Other pre-response considerations for this facility are:

Communications with listed responders including copies of Plan, annual reviews, updating.

Ongoing training for all staff.

Assessment of storage/wash facilities/equipment on a regular base.

Refer to MINOR SPILLS for more general guidelines for control, containment and cleanup procedures with regard to spills.

2. FOR A SPILL WITHIN ANY SECONDARY CONTAINMENT:

d. Are tanks sufficiently anchored?

e. Are other materials being contaminated?

f. Can the leak be easily stopped?

3. OTHER SOURCES OF SPILLS

a. Other response procedures include:

d. Pump water or spilled product into stable tanks.

For location of liquid transfer equipment, see

(Section VIII) remove or restrain small tanks.

Other:

e. Remove or transfer material to another storage

Area. For location of liquid transfer equipment,

See. (Section VIII)

Other:

f. Check valves. Plug holes with wood stakes or

Replace parts. see. (Section VIII) tape or strap over leak. See . (Section VIII)   for

Materials transfer to another tank. See . (Section VIII) for location of other tanks

Other:

Pesticide:

Fertilizer:

IX. SPILL OF PESTICIDES AND FERTILIZERS - PROCEDURES (continued)

4. HIGHWAY, FIELD, OR OTHER SPILLS NOT WITHIN SECONDARY CONTAINMENT:

a. If a spill occurs on a highway, call the State Highway Patrol 911/605-673-5677 or the local Sheriff’s office 911/1-605-673-8146 and South Dakota Department of Agriculture for assistance. Do not leave the area until responsible assistance arrives

b. Do not walk in spilled pesticide or fertilizer. Prevent vehicles from driving over spilled

Material. for a listing of traffic control materials. (Section VIII)

c. Do not handle leaking containers or go into a vehicle without appropriate personal

Protective equipment.

d. Do not allow anyone to smoke near the spilled pesticide or fertilizer, or provide any other

Source of ignition.

e. Dike the spill to prevent runoff of pesticide or fertilizer into any nearby waterways, ditches, streams, ponds, storm sewers, tile lines, etc.

5. FOR ANY MAJOR SPILL:

a. Pump into storage as much spillage as possible and hold for analysis, and use or

Reprocessing.

b. Follow minor spill procedures after initial recovery.

c. If a cleanup job appears too big to handle, or if there is any doubt about the correct

Procedure, telephone Sara – Title III 1-605-773-3296 and the

SD Department of Agriculture 1-605-773-3796 for assistance.

WHEN DEALING WITH SPILLS, REMEMBER…

Owen and incident results in a pesticide/fertilizer release of any amount, notify Emergency Management, agriculture, or environment & Natural Resources immediately upon gaining control of the spill. The agencies will provide assistance and guidance regarding proper procedure, based upon the amount and type of substance involved.

Whenever possible, spilled material should be used an originally intended. When reuse according to the product label is not possible either because of excessive contamination or cross-contamination with an Incompatible material, the material must be disposed of in accordance with South Dakota Department of Agriculture requirements. Depending upon the chemical involved, disposal may be a local landfill permitted to accept the material, a hazardous waste landfill, or land application of the contaminated soil. do not begin use/disposal of spilled or contaminated material until the South Dakota Department of

Agriculture has granted approval.

IX. SPILL OF PESTICIDES AND FERTILIZERS - PROCEDURES (continued)

6. Describe specific procedures to be used to transfer, handle, store, and dispose of materials recovered from discharges that occur within your operational area containment and secondary containment structures. Reference appropriate pages within this plan, as needed.

Pesticide:

All contaminate will be placed in sealed, labeled containers to be transported storage area for pick-up by SD Agriculture Department.

Personal protective equipment shall be worn at all times.

Fertilizer:   N/A

7. Describe methods, procedures, materials, and equipment to be used to contain, recover, store, transport, and dispose of discharges which occur outside of your operational area

Containment. Reference appropriate pages within this plan, as needed.

Pesticide:

Emergency Response personnel shall be notified immediately.

Equipment, materials locations and numbers are listed in this plan.

Custer County Weed & Pest/Emergency Management will coordinate activities with Custer County Hwy. personnel for recover, transporting, storing and disposal.

Fertilizer:

X. EMPLOYEE TRAINING

The owner or manager of an operational area shall conduct pesticide handling and discharge response plan training for all new and existing employees involved in the use and handling of pesticides. Training shall be conducted at least annually; and, employees involved in pesticide use and handling must receive training no later than three days after beginning pesticide use and handling duties. The owner or operator and employees are responsible for following the firm's pesticide handling and discharge response plan to minimize contamination of the environment.

EMPLOYEE NAME

(Print)

DATE OF TRAINING

EMPLOYEE HAS REVIEWED PESTICIDE HANDLING AND

DISCHARGE PLAN

Initials of Employee Initials of Trainer

EMPLOYEE NAME

(Print)

DATE OF

TRAINING

EMPLOYEE HAS REVIEWED

PESTICIDE HANDLING AND

DISCHARGE PLAN

Initials of Employee Initials of Trainer

XI. DEFINITIONS

A. Related South Dakota Pesticide Law and Rule Operational Area Containment, as defined by ARSD 12:56:17:01, by the authority of 38-21-15, is required after February 1, 1995, of any person when their operational area meets any one or more of the following conditions:

1. The operational area is the applicator's principal operational area; and a. more than a total of 1500 pounds of pesticide active ingredients are transferred, loaded, unloaded, mixed, repackaged, or refilled during a calendar year; or

b. either concentrate or diluted pesticides are cleaned, washed, or rinsed from containers or from application, handling, storage, or transportation equipment for over 30 days accumulated during a calendar year.

2. The operational area is within;

a. 150' of a lake, stream, streambed, or wetland;

b. 150' of a well;

c. 250' of populated buildings wither commercial or residential premises, excluding the owner or operators own residential or commercial buildings;

d. 500' of a well used as a public water supply. Two or more operational areas under common ownership and control within one-half mile of each other are calculated collectively to determine if the thresholds listed in subdivisions 1a or 1b above have been reached. Subdivisions 2c and 2d do not apply to mixing and loading operations conducted by pesticide applicators utilizing containers and equipment with holding capacities of 10 US gallons or less, or 50 pounds net dry weight or less. Subsections 1a and 1b do not apply to those operational areas located within or immediately adjacent to each pesticide application site, except for pressure wood preserving operational areas. Spills during Transport are required, by ARSD 12:56:03:01.01 under the authority of SDCL 3821-

16, to be reported to the Department of Agriculture or Emergency Management Services within 12 hours after a spill of more than 5 gallons of liquid or 50 pounds of dry pesticides. Spills Outside of Secondary Containment Area are required, by 12:56:13:10 under the authority of SDCL 38-21-16, to be reported to the Department of Agriculture or Emergency Management Services by the operator/manager within 3 hours after a spill of more than 25 gallons of liquid or 500 pounds of dry pesticides.

According to ARSD 12:56:13:02, a person shall not construct a bulk pesticide storage facility, for the storage of permanent bulk pesticide storage containers, without a means of secondary containment.

Reporting Requirements for significant pesticide accidents or incidents are implemented by the Secretary under SDCL 38-21-16. The following information should be reported: 1) Materials involved and quantity; 2) Environment involved; 3) Location and type of incident.

XI. DEFINITIONS (continued)

B. Related South Dakota Fertilizer Law and Rule spills outside of Secondary Containment Area are required by ARSD 12:44:05:29 under the authority of SDCL 38-19, to be reported to the Department of Agriculture and Emergency Management Services by the operator/manager of a bulk commercial fertilizer storage facility

within 3 hours after a spill of more than 25 gallons of liquid or 500 pounds of dry fertilizer.

ARSD 12:44:05:03, by authority of SDCL 38-19, mandates a person may not construct a liquid bulk commercial fertilizer storage facility for the storage of permanent liquid bulk commercial fertilizer storage containers without a means of secondary containment.

ØARSD 12:44:05:06, by authority of SDCL 38-19, mandates all nonliquid fertilizer materials, unless stored in a totally enclosed building, must be covered and stored within a secondary containment structure. The building must be constructed so as to not allow seepage or spillage of fertilizer materials from the building under normal storage conditions.

ARSD 12:44:05:28, by authority of SDCL 38-19, requires, by February 1, 1992, all washing of commercial fertilizer application equipment at liquid and non-liquid bulk commercial fertilizer storage facilities must be conducted within an area that complies with ARSD 12:44:05:27. No commercial fertilizer rinsates or wash waters from commercial fertilizer equipment may be disposed of through sanitary or storm sewer systems. Washing of commercial fertilizer equipment in the field is permissible and encouraged if it is performed at the site of the final commercial fertilizer application on a given day and no runoff from the wash site occurs. Any accumulated liquid or material that contains a fertilizer within the containment area must be applied to a field or fields at normal fertilizer rates or used in a liquid mixing operation. This section also applies when a commercial fertilizer is combined with a pesticide. When the accumulated liquid or material contains a pesticide, the accumulated liquid or material must be applied to a field or fields at normal pesticide application rates or used in a liquid mixing operation.

SOUTH DAKOTA DEPARTMENT OF AGRICULTURE

Division of Agricultural Services

Office of Agronomy Services

Foss Building, 523 E Capitol

Pierre, SD 57501-3182

Phone (605) 773-4432

FAX (605) 773-3481